|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Document Identifier** | **Number:** | 193-A02.01-0033 | | **Rev:** | 0 |
| **Title:** | DID E703-1 Cable Schedule | | | **Ship applicability:** | All |
| **Master Template Ref:** | None | | | **Project:** | All |
| **Type** | **Organization** | **Area** | **Supplier** | **VSY Supplier Code** | **SWBS** |
| DID | Supply Chain | Subcontracts / SCM | NA | NA | NA |

|  |  |
| --- | --- |
| **Data Item Description**  **Cable Schedule**  **DID E703-1** | |
|  | |
|  |  |
| Prepared by: | Vancouver Shipyards Co. Ltd.  50 Pemberton Ave.  North Vancouver, BC, Canada, V7P 2R2  Tel: (604) 988-3111  Fax: (604) 984-1636 |
| © Vancouver Shipyards Co. Ltd. 2016 | |

**PURPOSE**

The purpose for this document is to provide a structured format for delivery of technical information regarding to the ship’s electrical cable schedule and ship cable terminations that are included as part of the Integrator's/Supplier’s scope of supply. The cable schedule is a detailed itemized list of information that documents individual cable connections. The cable terminal schedule is a detailed itemized list describing each cable termination.

**SCOPE**

This document applies to any Integrator or Supplier that will deliver cable schedules and cable terminations to the Purchaser and is required to be filled out for each cable.

**FORMAT AND CONTENT**

The document shall be submitted to the Purchaser in Excel format in the template provided below. An electronic copy has been provided with the contract pack. For each supplemental delivery of this data, all changes for that revision are required to be clearly identified. The cable core identification shall be in the agreed format with the Purchaser. Cable manufacturing data shall be supplied to Purchaser for any cables that are not in accordance with the Purchaser’s standard cable catalogue

**STRUCTURE**

The cable schedule format shall be in accordance with the file “Cable Schedule.xlsx”.



The cable termination schedule format shall be in accordance with the file “Cable Terminations.xlsx”.

